## Sheet1
BM Series Micro Analytical Balances
Features | Benefits
1-microgram resolution | The BM-20 and the BM-22 display weight values with a resolution of 1ug. (The BM-22 has a smart range function and is the more affordable of the two.)
Extended capacities | The BM-252's capacity for the 0.01 mg range is 250 g, a level which only A&D has been able to realize. (For comparison, the GH-252 of our previous series has a capacity of 101 g). The BM-500 has a capacity of 520 g, the highest of all A&D's analytical balances with a resolution of 0.1 mg.
Built-in fanless ionizer in a separate neutralizing chamber | The BM Series has a separate neutralizing chamber with a built-in ionizer. The user can easily make sure that the sample is free of static electricity before weighing it and therefore obtain a more accurate and stable weighing result. Furthermore, the neutralizing chamber is useful as a preparatory room where the user can leave the sample until it gets acclimatized to the inside temperature to prevent errors due to convection flows.
Direct-current (DC) method | Unlike the AC ionizer chosen by our competitors, the BM's DC ionizer is fanless and causes no wind (except for minimal ionic wind). It is therefore possible to neutralize even fine powders without having them blown away. (Our competitors may also offer a fanless ionizer, but theirs are very expensive!)
Long life of approx. 10,000 hours | The discharge electrode pins of the ionizer can be used continuously for approx. 10,000 hours. In addition, each pin has a protector and can be removed safely for cleaning or replacement.
Anti-static breeze break | The breeze break of the BM Series is coated with a thin evaporated metal to block outside static electricity, such as charged clothing in dry winters.
Motor-driven, internal calibration mass | This function allows the user to perform calibration quickly and correctly with one key press. The balance can also self-calibrate automatically when it detects a change in ambient temperature to prevent errors due to sensitivity drift.
Automatic response adjustment | The balance automatically selects and sets the optimal response characteristics (FAST, MID, or SLOW) by analyzing the influence of drafts or vibrations on the stability of the display value. It is also possible to configure the setting manually.
AD-1689 as a standard accessory | The AD-1689 is a pair of tweezers ideally suited to handle a calibration weight. The long-reach tweezers (210 mm) allow the user to place a weight on a weighing pan without having to put a hand inside the chamber. This prevents convection flow that is normally attributed to heat coming from the hand.
Special pans for weighing PM (particulate matter) filters (standard for the BM-20/22) | The BM-20/22 includes two special pans (diameters 50 mm and 95 mm) for weighing particle filters in environmental testing, etc. These pans are grated so as to be less influenced by drafts.
Three sizes of aluminum analytical pans (standard for the BM-20/22) | These are useful for measuring very small amounts of liquid or powder. Ten pans each of the three sizes, φ8 mm (0.05 ml), φ12 mm (0.3 ml), and φ15 mm (0.8 ml), come as standard with the BM-20/22. Each size can also be purchased separately as an optional accessory (in a set of 100).
Microfuge (microcentrifuge) tube holder (standard for the BM-20/22) | Using this holder, it is easy to dispense the sample amount directly into a microfuge tube.
Large weighing chamber | For the BM-20/22, A&D placed double breeze break rings around the weighing pan in addition to two perpendicular shields under the separation plate to block drafts and convection flows. Operation is much easier compared with conventional microbalances that use a secondary breeze break in the chamber or a separate weighing unit with a small chamber. For the other models (resolution of 10 ug or higher), the separation plate can be removed so that a large object such as flask or cylinder can be weighed.
Clear, white-backlit LCD | The contrast of the black and white display provides excellent readability even in poorly-lit workplaces.
Interlockable sliding doors | It is possible to slide a door open using the handle on the opposite side (i.e. use the left hand to open the door on the right, and vice versa), which makes the work of weighing more efficient.
Multiple weighing units | It is easy to select from and switch between g, mg, oz, ozt, ct, mom, dwt, GN, tael, and tola, in addition to pcs and %.
Built-in environmental sensors | The balance displays the temperature, humidity, and atmospheric pressure for users who need to record these environmental conditions with weighing data.
AD-1688 as a standard accessory | The AD-1688 weighing data logger is a handheld device (55 x 103 x 16.5 mm) that stores up to 5,000 weighing results with data and time. The saved data can be retrieved later by connecting the AD-1688 to a USB port of a PC (no driver software is required). With this device, the user can avoid tedious and error-prone handwriting.
RS-232C and Quick USB as standard interfaces | The easy-to-use USB interface, which does not need driver or software installation, transfers weighing data to a PC (communication is unidirectional - weighing data transfer from the balance to a PC only). The RS-232C interface enables bi-directional communication with a PC, printer or other peripheral device. With these two interfaces, it is possible to connect two different devices (e.g. PC and remote controller) simultaneously to a balance.
External key plug | The optional foot switch AX-SW128 (for RE-ZERO or PRINT) can be connected using this plug.
LAN-Ethernet interface (BM-08, optional) | The Ethernet interface, along with the WinCT-Plus software, can be used to acquire data from and send commands to multiple weighing instruments with a PC.
GLP/GMP/GCP/ISO compliant output | For documentation required by GLP/GMP/GCP/ISO, the AD-4212B can output the balance manufacturer, model, serial number, ID number, date, time, space for a signature, calibration record, etc. It is also possible to store calibration and calibration test data in data memory and output several reports at the same time.
Clock and calendar function | The balance can add time and date to the output data for later reference.
Data memory function | The balance can store up to 200 weighing results (100 with data & time) or the 50 latest calibration results without requiring external memory devices or a PC. This data can be output to a printer or PC as a batch.
Counting mode with ACAI function | It is easy to count the number of small parts, etc. The Automatic Counting Accuracy Improvement (ACAI) function recalculates the average unit weight each time a sample is added to eliminate errors caused by variations in unit weight.
Percent mode function | The balance can display the weight value as a percentage of a reference mass, which is useful for target weighing or checking the sample variation.
Underhook function | The underhook is used for hanging measurements of magnetic materials and density measurements in air and water.
Density determination function | The balance is equipped with a density mode to calculate density. For the BM-252/200/300/500, it is possible and recommended to use the optional density determination kit, the AD-1653.
Bubble spirit level and adjustable feet | The bubble spirit level and adjustable feet provide more accurate weighing results.
Windows Communication Tools software (WinCT) on CD-ROM | This software makes it possible to receive data in a text file format from a balance with an RS-232C interface, plot graphs, and export data to another software such as Microsoft Excel on a PC. It is also possible to send commands to control the balance.
Anti-vibration table for balances (AD-1670, optional) | A highly recommended accessory for micro-balances, which minimizes the influence of vibration due to human activities nearby, the building being swayed by strong winds, etc.
Remote controller (AD-8922A, optional) | The AD-8922A lets the user to control the balance without having to press the keys of the balance directly. Especially recommended when using the anti-vibration table to ensure that the table remains level.
Tabletop breeze break (AD-1672, optional) | A highly recommended accessory for micro-balances that shields the balance from air blown from an air conditioner and minute temperature fluctuations caused by it. It is also effective against air turbulence caused by passing people and the opening and closing doors.