# High Resolution Counting Scales FC-Si Series

Counting is easy with new High Resolution Counting Scales

- Internal: 1:10,000,000 Resolution (SHS : Super Hybrid Sensor inside)

- Navigation system with LED to start the keys of “Sample”, “Keyboard” and “ID”, its intuitive operation reduces the time needed for efficient counting usage.

Simplified two-step operation

Power on: Operating function keeps the weighing mechanism warmed up

@ First, press the *Sample key and place a sample number of items on the weighting pan

@ Then, press the *Enter key

Start Counting!

That’s all there is to it!

This can be handy!

@Automatic last Unit Weight Used Function.

When you turn the display on, the scale can automatically recall the last unit weight used from memory, if you wish to use the same samples.

|  | ## Features | # Benefits |
| --- | --- | --- |
| OK | Intelligent peripherals, modern design, manufactured by A&D | -Supplied by recognized world leader in scale design and technology |
| OK | Rugged Construction | -Rugged aluminum Die-Cast Frame Construction for Super Hybrid Sensor (SHS) & Load cell Sensor. -Low maintenance costs. Suitable for use in a wide variety of applications with high reliability |
| OK | Large Platform Size | -Accommodates wide variety of packages, cartons & boxes |
| OK | Power Capability - AC adapter (100,120,220,240 VAC 50/60Hz) - Optional Rechargeable battery (Op-02) Ni-MH Battery Pack | -Use the FC-I / FC-SI anywhere: fixed operation, portable operation, field packing operations without power & areas with low power problems & power blackouts. -Battery Operating Time: Approx. 10 hours |
| OK | Auto Power Off Function | -Preserves battery life. |
| OK | Internal: 1:10,000,000 Resolution (FC-SI Series:1/10,000,000) (FC-I Series:1/1,000,000) | -High sampling accuracy for time efficient results. |
| OK | Automatic Count Accuracy Improvement (ACAI) | -Continuously improves counting accuracy by recalculating average unit weight with each new sample. |
| OK | Full Digital Calibration Function | -All display segments checked for correct operation ensures operator is aware of any potential data recording errors. |
| OK | Simplified Operation | -Easy, error free. -3 Unit Weight by LED’s will navigate you to store a unit weight easily. |
| OK | Large memory for unit & tare weight | -Store & retrieve up to 500 unit or tare weights. -500 ID Code memories for 6 digits of ID number, Unit Weight, Tare Weight, Comparator Hi/OK/Lo on the display and Buzzer and Relay Output is available via Option (FC-04i) RS232C +Comparator Relay Output) for Packing and Checking Application. |
| OK | Remote Platform Options | -2 scale capability in 1: the up to 50 kg capability, and (remote) up to 1200 kg capability -2 Scales Application for easy communication Board (FC-05i) for bulk counting with precise unit weight. |
| OK | Built-in Audible Comparator Function | -Display: Hi / OK / Lo. Plus triggers audible internal alarm. |
| OK | Automatic Memory Accumulation Function | -Totals piece count into memory. Works in automatic or manual mode. |
| OK | “ M+ “ Memory Accumulation Function | -Stores total piece count in memory, to keep a running total of ongoing operations. |
| OK | Large Bright Vacuum Fluorescent Display | -For piece counting as Main display, Weight, Comparator Result, Unit Weight, ID number and Item Code (Alphanumeric) as Sub display |
| OK | Selectable Weighting Filters | -Ensure fast and stable results in all environmental conditions. |
| OK | RS-232C Standard interface. | -Ideal for printer and PC connection. -Standard RS-232C for easy communication with PC, Label Printer, Barcode Reader and other peripherals to expand counting applications. -Optional 2 more RS-232C interfaces for expanding your counting applications. |
| OK | WinCT-UFC Software | -Universal Flex Coms (UFC) allows you to print out as you format the printer |
| OK | “Reset” Key operation | -In case of wrong inputting by operator |
| OK | “Disable” Keys Function | -For Operator’s error free use. |
| OK | Power: Standby and Operating Function | -2 principal modes. -Operating mode keeps the weighing mechanism warmed up |